## pricebid
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: Providing and Installation of Fire fighting pipe line in New Lab Block at NIPGR Campus New Delhi.
Contract No: NIPGR/Engg./7/34/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
FIRE Fighting wet riser system
1 | Excavation for pipe lines in trenches and pits in open areas where disposal of surplus earth is done along the alignment, including trimming and dressing sides, leveling of beds of trenches to correct grades, cutting joint holes, refilling consolidation and refill in 15 cm layers and restoration of its original shape as per direction of Institute.
a) | Upto 1.5 m depth In soft Soil | 25 | RM | 0 | 0 | 0 | 0 | 0
b) | Upto 1.5 m depth in Rocky Strata. | 20 | RM | 0 | 0 | 0 | 0 | 0
2 | Providing and laying MS pipes to IS:1239 (heavy class) in trenches including all fittings like anchor fasteners, couplings, bends elbows, tees etc. welded or screwed joints as required for connection to existing fire pipe lines all complete.(external work).(TATA OR JINDAL HISSAR MAKE) as required to complete the work including pressure testing as per direction of Institute.
a) | 100 mm dia | 45 | RM | 0 | 0 | 0 | 0 | 0
3 | Providing pipe protection for underground pipes from corrosion painting pipe with PYPKOTE primer and covered with PYPKOTE anticorrosive tape (4mm thick) as per specifications.required to complete the as per direction of Institute.
a) | 100 mm dia | 45 | RM | 0 | 0 | 0 | 0 | 0
4 | Providing and fixing cast iron butterfly valve complete with epoxy coated disc, carbon steel shaft and lever actuator tested to 10 Kg./m2 including flanges.required to complete the work as per direction of Institute.
a) | 100mm dia | 2 | Nos. | 0 | 0 | 0 | 0 | 0
5 | Constructing of masonry chamber 90 x 90 x 100 cm, inside with 75 class designation brick work in cement mortar 1:5 (1 cement : 5 fine sand) for sluice valve, with C.I. Surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortor 1:3 (1 cement : 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design. required as complete as per instriction of Engineer-in-charge | 2 | Each | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor