## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: Service and replacement of components of cooling towers of 625 KVA & 1250 KVA Diesel Generator Sets at NIPGR Campus, New Delhi
Contract No: NIPGR/Engg./6/2(1)/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Servicing & overhauling of Cooling Tower (ID-2090) of 1250 KVA DG set | 1 | Each | 0 | 0 | 0 | 0 | 0
2 | Servicing & overhauling of Cooling Tower (ID-2030) of 625 KVA DG set | 1 | Each | 0 | 0 | 0 | 0 | 0
3 | PVC Fills 600 x 300 x 150mm | 240 | per modules | 0 | 0 | 0 | 0 | 0
4 | PVC Splash Cups | 240 | per pc. | 0 | 0 | 0 | 0 | 0
5 | PVC Nozzles 7” Long – 50 Nos. | 8.9 | per mtr. | 0 | 0 | 0 | 0 | 0
6 | PVC 63mm End Cap | 50 | per pc. | 0 | 0 | 0 | 0 | 0
7 | Steel Screw | 500 | per pc. | 0 | 0 | 0 | 0 | 0
8 | Bolts 1” (S.S) | 100 | per pc. | 0 | 0 | 0 | 0 | 0
9 | Nut 1” (S.S) | 100 | per pc. | 0 | 0 | 0 | 0 | 0
10 | Washer 1” (S.S) | 200 | per pc. | 0 | 0 | 0 | 0 | 0
11 | Bolts 1 ½” (S.S) | 180 | per pc. | 0 | 0 | 0 | 0 | 0
12 | Nut 1 ½” (S.S) | 180 | per pc. | 0 | 0 | 0 | 0 | 0
13 | Washer 1 ½”(S.S) | 360 | per pc. | 0 | 0 | 0 | 0 | 0
14 | PVC Resin | 30 | per kg. | 0 | 0 | 0 | 0 | 0
15 | Putty Powder | 10 | per kg. | 0 | 0 | 0 | 0 | 0
16 | FRP Mat (Fiber) | 8 | per kg. | 0 | 0 | 0 | 0 | 0
17 | Accelerator | 0.5 | per kg. | 0 | 0 | 0 | 0 | 0
18 | Hardener | 0.5 | per kg. | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor