## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority: Consultant Engineer, NIPGR, New Delhi
Name of Work: Renovation of Green House – 1 at NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./7/42(GH-1)/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Replacement of 2TR Commercial Condensing Unit complete having Emerson compressor, HP cut off, side valves, sealed fan motor and gas charging with wall mounting stand as per existing installations. | 3 | No | 0 | 0 | 0 | 0 | 0
2 | Replacement of 4 TR indoor unit with 2 TR Indoor Unit 24000 Btu/Hr cooling capacity with complete attached accessories including frame, copper pipe cable etc complete as required (Hitachi/Blue Star/Voltas/Daikin) | 4 | No | 0 | 0 | 0 | 0 | 0
3 | Providing and fixing of New Control Panel with (Day & Night temperature settings) for Temperature, Humidity and Light as per existing installations with following components: | 1 | No | 0 | 0 | 0 | 0 | 0
a) Relative Humidity + Temperature Real Time Microprocessor Controller
b) Input: RH+Temperature Sensor
c) Display, RH: 4-digit, 7 segment LED display
d) Display, Temperature: Lower: 4-digit, 7 segment LED display
e) Accuracy: RH : +/- 3% RH
f) Temperature: +/-0.3% deg C
4 | Providing and fixing of 100 Amp 4 pole MCB Make: L&T / ABB / Legrand / Havells | 1 | No | 0 | 0 | 0 | 0 | 0
5 | Providing and fixing of 12” ventilation fan, 1400 RPM Make: Havells / Crompton / Almonard / Bajaj | 1 | No | 0 | 0 | 0 | 0 | 0
6 | Providing and fixing of 2.5 KW heating system as per existing installations. | 4 | No | 0 | 0 | 0 | 0 | 0
7 | Re-electrical wiring of complete Green House as per existing installations. (AC – 4C x 4Sqmm, power point 3C x 4sqmm, Heater & light – 3C x 2.5 sqmm) etc. | 1 | Lot | 0 | 0 | 0 | 0 | 0
8 | Providing and fixing of 250W HPS lamp with control gears. Make: L&T / Havells / Bajaj | 6 | No | 0 | 0 | 0 | 0 | 0
9 | Providing and fixing of 40 Amp 2 Pole MCB. Make: L&T / ABB / Legrand / Havells | 2 | No | 0 | 0 | 0 | 0 | 0
10 | Providing and fixing of 4” cooling fan as per existing installations. Make: Havells / CG / Almonard / Bajaj | 4 | No | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor