## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: Repairing of Chillers for air-conditioning works at NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./5/1/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Bluestar Chiller No. 3 - 48 TR (PGF)
1 | Dismantling of existing compressors and reinstallation of new compressors of 12 Tr capacity similar to the specification of the existing machine complete with Testing and commissioning to make system functional | 2 | No. | 0 | 0 | 0 | 0 | 0
2 | Dismantling of existing condensor fan motor and refixing the motor after repairing/replacement of the motor complete to make system functional as per directions of EIC | 2 | No. | 0 | 0 | 0 | 0 | 0
3 | Gas charging complete in order to make system functional | 40 | Kg. | 0 | 0 | 0 | 0 | 0
4 | Dismantling of existingCT, Supply, Installation, Testing and commisioning of new CT similar to specification of the existing installations | 1 | No. | 0 | 0 | 0 | 0 | 0
5 | Testing, Commissioning of complete system including pressure testing with N2 Vaccumization etc including replacement of drier filter etc in complete to make system functional | 1 | No. | 0 | 0 | 0 | 0 | 0
Bluestar Chiller No. 1 - 200 TR (New Lab )
1 | SITC of new condensor fan motor and fan blade similar to existing installations | 1 | No. | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor