## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: Replacement of ductable unit installed for NAPGER & Micro Array Facility at NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./5/6(1)/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Supply, Installation, Testing and commissioning of Microprocessor based air cooled ductable unit 17 TR nominal capacity (with scroill compressor) along with Gard copper refrigerant piping , First charge of refrigerant . Work includes lifting/ shifting and positioning of unit | 1 | No. | 0 | 0 | 0 | 0 | 0
2 | Dismantling of Existing ductable unit of 17 TR, along with extra refrigeran piping complete | 1 | Lot | 0 | 0 | 0 | 0 | 0
3 | Supply, Installation, Testing and commissioning of extra refrigerant piping 7/8" * 1 1/8" | 30 | RMT | 0 | 0 | 0 | 0 | 0
4 | Supply, Installation, Testing and commissioning of GI Volume damper | 0.5 | sqmt | 0 | 0 | 0 | 0 | 0
5 | Supply, Installation, Testing and commissioning of Heavy gauge PVC drain pipe of 40mm with insulation and fittings | 20 | rmt | 0 | 0 | 0 | 0 | 0
6 | Supply, Installation, Testing and commissioning of MS Stand for installaton of outdoor unit | 1 | No. | 0 | 0 | 0 | 0 | 0
7 | Supply, Installation, Testing and commissioning of Canvass Connection | 1 | No. | 0 | 0 | 0 | 0 | 0
8 | Dismantling and remaking of false ceiling as per existing installation and minor civil works required to make machine functional. | 1 | Lot | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor