## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: Providing Fire Alarm System in Substation in NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./6/1/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Supply of 4 Zone Fire Alarm Control Panel with 2x12V, 7Ah SMF batteries, battery charger circuit | 2 | Each | 0 | 0 | 0 | 0 | 0
2 | Supply of Multicriteria smoke cum heat detectors | 11 | Each | 0 | 0 | 0 | 0 | 0
3 | Supply of 2 Core 1.5 sq mm Zero Halogen Outersheathed Armoured Fire Survival Cable (ISI Marked Polycab, Neoflex Masterflex ) | 120 | Meter | 0 | 0 | 0 | 0 | 0
4 | Supply of Electronic Hooter cum Strobe | 2 | Each | 0 | 0 | 0 | 0 | 0
5 | Installation, Testing and commisioning of above items using all sundary items required to make the above system functional as required | 1 | Lumsum | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor