## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: Replacement of Addressable Fire Alarm Panel in NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./6/1/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Supply of addressable 5-loop fire alarm control panel with public address system, Edwards EST3 as per requirement and instruction of the engineer in charge (the new panel must have similar or advanced features of the existing panel) | 1 | Each | 0 | 0 | 0 | 0 | 0
2 | Installation, Commissioning of new addressable fire alarm control panel and configuration with the existing system (smoke/heat detectors, hooters/speakers etc. after removing the existing panel as per requirement and instruction of the engineer in charge | 1 | Each | 0 | 0 | 0 | 0 | 0
3 | Addressing and programming of fire alarm system as per requirement and instruction of the engineer in charge | 1 | Each | 0 | 0 | 0 | 0 | 0
4 | Supply, Installation and Testing of 12 Volt, 7 AH Battery | 2 | Each | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor