## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Consultant Engineer, NIPGR, New Delhi
Name of Work: Repacement of air washer & exhaust system feeding DG room at NIPGR Campus New Delhi.
Contract No: NIPGR/Engg./5/1(1)/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Dismantling and shifting of existing Air washer and exhaust system complete as per the location designated by the engineer in charge | 1 | Nos | 0 | 0 | 0 | 0 | 0
2 | Design, Supply, Installation, Testing & Commissioning of Air washer unit and Extract air unit as per general specifications provided in the tender complete with all civil works comprising of civil foundations, breaking walls and remaking, new electrical panels, electrical wires, drain & make up water connections from main point etc. complete to make system functional and as per directions of the engineer incharge.
a. | 60000 cfm @ 65 mm wg Static Pressure Air washer Unit | 1 | Nos | 0 | 0 | 0 | 0 | 0
b. | 60000 cfm @ 65 mm wg Static Pressure Exhaust Air Unit | 1 | Nos | 0 | 0 | 0 | 0 | 0
3 | Less Buy back of above mentioned old units in complete | 1 | Lot | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Consultant Engineer |  |  |  | Seal & Signature of Contractor