## Part - A
SCHEDULE OF QUANTITY (Labour Part - A)
Name of Work: AMC of air-cooled and air-conditioned Green Houses at at NIPG0 Campus, New Delhi.
Si. No. | Description |  | Unit | Rate | QTY | Amount
A. | Material as per details below (all-inclusive rate per month)
i | Log Books Attendance Registers, History Books & Other Stationery |  | One Job |  | 1
ii | Uniform ,Shoes, I-Cards etc. |  | One Job |  | 1
iii | Tool & Plant Charges |  | One JOb |  | 1
Total A | Total Monthly charges towards above material
B. | Manpower as per details below (please refer Special Terms & Conditions of the Tender document)
i | Wages for complete month | No. of persons
| a. Skilled ( Mechanic /Electrician) ITI/Diploma with 3 year | 1 | Each Month |  | 1
| b. Unskilled (Helper) - 10 pass | 1 | Each Month |  | 1
Total Wages (a +b )
(Please provide complete breakup)
ii | PF @ 13% (including administrative charges as per rules)
(maximum on Rs.15,000/- per person, per month)
iii | ESI @ 3.25%
iv | Bonus @ 8.33% of basic
(Admissible for those workers only who completes atleast 30 days service in present contract)
Total B | Total Monthly charges towards above manpower
C | Other charges (if any)
D | Agency charges
E | Total (B + C + D)
F | GST @ 18% (on E above)
G | Total Inclusive of GST (E + F)
H | Total Monthly charges (A + G)
Total Annual charges (H x 12 months)
say
Payment shall be released on the basis of actual attendance and actual payment of wages released to staff deployed at the Institute, subject to wages paid as per Minimum Wages Rule.
| Consultant Engineer |  |  | Seal & Signature of Contractor

## Part - B
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Consultant Engineer, NIPGR, New Delhi
Name of Work: AMC of air-cooled and air-conditioned Green Houses at NIPGR Campus, New Delhi.-Spares required on as and when basis.
Contract No: NIPGR/Engg./7/42(AMC-GH)/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (Material Part - B) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Replacement Compressor for Split A/C 1.5 TR | 4 | No. | 0 | 0 | 0 | 0 | 0
2 | Supply/Replacement Compressor for Split A/C 2.0 TR | 4 | No. | 0 | 0 | 0 | 0 | 0
3 | Supply/Replacement Compressor for Window A/C 1.5 TR | 2 | No. | 0 | 0 | 0 | 0 | 0
4 | Supply/Replacement of Gas Charging in Split/window/water cooler after testing with Nitrogen | 60 | Kg. | 0 | 0 | 0 | 0 | 0
5 | Supply/Replacement of Running Capacitor for Split AC/Window AC/Water Cooler | 10 | No. | 0 | 0 | 0 | 0 | 0
6 | Supply/Replacement of PTC Relay | 7 | No. | 0 | 0 | 0 | 0 | 0
7 | Supply/Replacement of Contactor | 10 | No. | 0 | 0 | 0 | 0 | 0
8 | Supply/Replacement of Accumulator | 2 | No. | 0 | 0 | 0 | 0 | 0
9 | Supply/Replacement of Overload Relay | 4 | No. | 0 | 0 | 0 | 0 | 0
10 | Supply/Replacement of Capillary & Filter | 4 | No. | 0 | 0 | 0 | 0 | 0
11 | Rewinding of Motor (Aluminium winding) | 4 | No. | 0 | 0 | 0 | 0 | 0
12 | Repairing of Remote PCB | 7 | No. | 0 | 0 | 0 | 0 | 0
13 | Repair of Auto Electronic Controller/ Voltage Stabilizer | 4 | No. | 0 | 0 | 0 | 0 | 0
14 | Repairing of Temperature Controller | 7 | No. | 0 | 0 | 0 | 0 | 0
15 | Repairing of Humidity Controller | 7 | No. | 0 | 0 | 0 | 0 | 0
16 | Repairing of Switching Unit | 7 | No. | 0 | 0 | 0 | 0 | 0
17 | Supply of Temperature Controller | 4 | No. | 0 | 0 | 0 | 0 | 0
18 | Supply of Humidity Controller | 4 | No. | 0 | 0 | 0 | 0 | 0
19 | Supply of Switching Unit | 5 | No. | 0 | 0 | 0 | 0 | 0
20 | Supply of New Condensor fan for Split / Window AC | 8 | No. | 0 | 0 | 0 | 0 | 0
21 | Supply of New Blower fan for Split/Window AC | 4 | No. | 0 | 0 | 0 | 0 | 0
22 | Supply of New Remote for Split/Window/Cassette AC | 2 | No. | 0 | 0 | 0 | 0 | 0
23 | Repairing of Humidifier/Dehumidifier | 4 | No. | 0 | 0 | 0 | 0 | 0
24 | Repairing of cooling pad/sel deck pad | 2 | No. | 0 | 0 | 0 | 0 | 0
25 | Repair of Air Curtain | 2 | No. | 0 | 0 | 0 | 0 | 0
26 | Supply of New Air Curtain | 2 | No. | 0 | 0 | 0 | 0 | 0
27 | Supply of heater | 4 | No. | 0 | 0 | 0 | 0 | 0
28 | Supply of fan of air cooled | 2 | No. | 0 | 0 | 0 | 0 | 0
29 | Repair of turbo Humidifier | 2 | No. | 0 | 0 | 0 | 0 | 0
30 | Repair of New Electrical motor of Sel Deck Pad (cooling pad) | 2 | No. | 0 | 0 | 0 | 0 | 0
31 | Supply Green House Water Tap | 8 | No. | 0 | 0 | 0 | 0 | 0
32 | Supply/Replacement of Water Tap of wash basin | 8 | No. | 0 | 0 | 0 | 0 | 0
33 | Repair of Aluminium Doors | 7 | No. | 0 | 0 | 0 | 0 | 0
34 | Replacement of Door closure | 8 | No. | 0 | 0 | 0 | 0 | 0
35 | Replacement of Door Stopper | 13 | No. | 0 | 0 | 0 | 0 | 0
36 | Replacement of Door Board | 8 | No. | 0 | 0 | 0 | 0 | 0
37 | Replacement of Door Lock | 10 | No. | 0 | 0 | 0 | 0 | 0
38 | Replacement of Wash Basin | 7 | No. | 0 | 0 | 0 | 0 | 0
39 | Replacement of Angle valve | 10 | No. | 0 | 0 | 0 | 0 | 0
40 | Replacement of Water tanks 500 liters | 5 | No. | 0 | 0 | 0 | 0 | 0
41 | Repair of Tank Ball Leakage | 8 | No. | 0 | 0 | 0 | 0 | 0
42 | Replacement of Tank ball Cock | 13 | No. | 0 | 0 | 0 | 0 | 0
43 | Replacement of Tank Nipples (Water supply Line from taping point from main) | 5 | No. | 0 | 0 | 0 | 0 | 0
44 | Repair of Water supply Line from storage tank & from water storage tanks to Distribution | 7 | No. | 0 | 0 | 0 | 0 | 0
45 | Supply of Unions -As per site | 8 | No. | 0 | 0 | 0 | 0 | 0
46 | Supply of Sockets-As per site | 13 | No. | 0 | 0 | 0 | 0 | 0
47 | Supply of Reducers-As per site | 7 | No. | 0 | 0 | 0 | 0 | 0
48 | Supply of Nipples-As per site | 10 | No. | 0 | 0 | 0 | 0 | 0
49 | Supply of 400 watt LED light lamp | 4 | No. | 0 | 0 | 0 | 0 | 0
50 | Supply of 400 watt LED light chock | 4 | No. | 0 | 0 | 0 | 0 | 0
51 | Supply of Ignitor for all type of lights | 12 | No. | 0 | 0 | 0 | 0 | 0
52 | Supply of 150 watt LED light lamp | 7 | No. | 0 | 0 | 0 | 0 | 0
53 | Supply of 150 watt LED light chock | 7 | No. | 0 | 0 | 0 | 0 | 0
54 | Supply of 15/16 amp, 6 pin, socket | 12 | No. | 0 | 0 | 0 | 0 | 0
55 | 15/16 amp switch | 12 | No. | 0 | 0 | 0 | 0 | 0
56 | Supply of 6 amp switch | 12 | No. | 0 | 0 | 0 | 0 | 0
57 | Supply of 6 amp socket | 12 | No. | 0 | 0 | 0 | 0 | 0
58 | Supply of Combined switch socket 6 pin 16 Amp | 12 | No. | 0 | 0 | 0 | 0 | 0
59 | Supply of 40 amp DPMCB | 20 | No. | 0 | 0 | 0 | 0 | 0
60 | Rewinding of Exhaust fan, 12"/18" | 24 | No. | 0 | 0 | 0 | 0 | 0
61 | Supply of MCB 100 amp FP | 2 | No. | 0 | 0 | 0 | 0 | 0
62 | Supply of 40/63 amp. TPNMCB | 6 | No. | 0 | 0 | 0 | 0 | 0
63 | Supply of 32/40 amp. SPMCB | 12 | No. | 0 | 0 | 0 | 0 | 0
64 | Supply of 6/10/16/20 amp. SPMCB | 20 | No. | 0 | 0 | 0 | 0 | 0
65 | Supply of 36/28 watt tube rod | 20 | No. | 0 | 0 | 0 | 0 | 0
66 | Supply of 36/28 watt electronic chock | 100 | No. | 0 | 0 | 0 | 0 | 0
67 | Supply of Starter | 100 | No. | 0 | 0 | 0 | 0 | 0
68 | Supply of Tube Light Holder | 50 | No. | 0 | 0 | 0 | 0 | 0
69 | Supply 50/60 watt LED lamp | 50 | No. | 0 | 0 | 0 | 0 | 0
70 | Supply of 15 watt LED lamp | 6 | No. | 0 | 0 | 0 | 0 | 0
71 | Supply of 32 amp AC power outlet | 12 | No. | 0 | 0 | 0 | 0 | 0
72 | Supply of Heater Elements | 10 | No | 0 | 0 | 0 | 0 | 0
73 | Supply of Thermostate | 6 | No. | 0 | 0 | 0 | 0 | 0
74 | Supply of LED Tube Light-50W | 50 | No. | 0 | 0 | 0 | 0 | 0
75 | Supply of LED Tube Light-100W | 20 | No. | 0 | 0 | 0 | 0 | 0
76 | Supply ofTemperature Sensor -PT-100 | 4 | No. | 0 | 0 | 0 | 0 | 0
77 | Supply of LED Light-20/22W | 50 | No. | 0 | 0 | 0 | 0 | 0
78 | Supply of Outdoor Fan | 4 | No. | 0 | 0 | 0 | 0 | 0
79 | Supply of Outdoor motor with Capacitor | 4 | No. | 0 | 0 | 0 | 0 | 0
80 | Repairing of Condensing Coil | 3 | No. | 0 | 0 | 0 | 0 | 0
81 | Refrigerant Charging | 12 | No. | 0 | 0 | 0 | 0 | 0
82 | Supply of Photoperiodic Controller as per site | 4 | No. | 0 | 0 | 0 | 0 | 0
83 | Supply of Single phase Contactor as per site | 6 | No. | 0 | 0 | 0 | 0 | 0
84 | Supply of Indoor AC Blower Motor | 5 | No. | 0 | 0 | 0 | 0 | 0
85 | Supply of Copper Wirie/Cable of Size-2.5Sqm | 6 | per bundle | 0 | 0 | 0 | 0 | 0
86 | Repair of Axial Flow Fan Motor | 4 | No. | 0 | 0 | 0 | 0 | 0
87 | Supply of 40Mesh cover of Axial Fan | 6 | No. | 0 | 0 | 0 | 0 | 0
88 | Supply of 16mm LDPE fogging lateral system | 4 | No. | 0 | 0 | 0 | 0 | 0
89 | Repair of gear mechanism of sheding Net | 6 | No. | 0 | 0 | 0 | 0 | 0
90 | Supply of New Green shed net | 10 | Sqmtr | 0 | 0 | 0 | 0 | 0
91 | Supply of exhaust Fan-10" | 6 | No. | 0 | 0 | 0 | 0 | 0
92 | Supply of LED lights-200w | 10 | No. | 0 | 0 | 0 | 0 | 0
93 | Supply of Excel fan Belt | 12 | No. | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
Net Total Amount (Part-A + Part-B) =
| Consultant Engineer |  |  |  | Seal & Signature of Contractor