## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Consultant Engineer, NIPGR, New Delhi
Name of Work: Renovation of wash rooms in Main Building at NIPGR Campus New Delhi.
Contract No: NIPGR/Engg./7/1(5)/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : all complete as per direction of Institute.
1
1a) | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate
| 20 mm nominal size derived from natural Sources | 16 | cum | 0 | 0 | 0 | 0 | 0
1b) | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone
| aggregate 40 mm nominal size derived from natural sources) | 16 | cum | 0 | 0 | 0 | 0 | 0
RCC WORK
2 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. all complete as per direction of Institute.
2a) | Thermo-Mechanically Treated bars of grade Fe- 500D or more | 270 | kg | 0 | 0 | 0 | 0 | 0
Brick work
3 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. all complete as per direction of Institute.
3a) | Cement mortar 1:3 (1 cement :3 coarse sand) | 88 | sqm | 0 | 0 | 0 | 0 | 0
3b) | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry | 88 | sqm | 0 | 0 | 0 | 0 | 0
4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes ,all complete as per direction of Institute.
4a) | Cement mortar 1:6 (1 cement : 6 coarse sand) | 5 | cum | 0 | 0 | 0 | 0 | 0
Tiling works of Flooring & Walls
5a) | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conformingto IS : 15622 of approved make in colours such as White, Ivory, Grey,Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 coarse Sand)pointing the joints with white cement and matching pigmentetc., all complete. as approved by Institute. | 375 | sqm | 0 | 0 | 0 | 0 | 0
5b) | Providing and fixing Ist quality ceramic glazed wall tiles conforming toIS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Institute, in skirting, risers of stepsand dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shade all complete as approved by Institute. | 1800 | sqm | 0 | 0 | 0 | 0 | 0
Finishing
6a) | 12 mm cement plaster of mix :
| 1:4 (1 cement : 4 fine sand) | 200 | sqm | 0 | 0 | 0 | 0 | 0
6b) | 15 mm cement plaster on the rough side of single or half brick wall of mix :
| 1:4 (1 cement : 4 fine sand) | 150 | sqm | 0 | 0 | 0 | 0 | 0
7a) | Distempering with oil bound washable distemper
of approved brand and manufacture to give an even shade :
New work (two or more coats) over and including water thinnable priming coat with cement prime
|  | 1210 | sqm | 0 | 0 | 0 | 0 | 0
7b) | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
| Two or more coats on new work | 50 | sqm | 0 | 0 | 0 | 0 | 0
7c) | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete.
|  | 1210 | sqm | 0 | 0 | 0 | 0 | 0
Dismantling
8 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead all complete as per direction of Institute.
| Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 40 | cum | 0 | 0 | 0 | 0 | 0
9 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead all complete as per direction of Institute.
|  | 5 | cum | 0 | 0 | 0 | 0 | 0
10 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead all complete as per direction of Institute.
| In cement mortar | 45 | cum | 0 | 0 | 0 | 0 | 0
11 | Dismantling tile work in floors and walls,etc laid in cement mortar including stacking material within 50 metres lead all complete as per direction of Institute.
| For thickness of tiles 10 mm to 25 mm | 2175 | sqm | 0 | 0 | 0 | 0 | 0
12 | Dismantling of wash basin/ EWC/flushing cistern/urinal etc of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead all complete as per direction of Institute.
|  | 180 | each | 0 | 0 | 0 | 0 | 0
13 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead all complete as per direction of Institute.
|  | 150 | sqm | 0 | 0 | 0 | 0 | 0
14 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in- charge, beyond 50 m initial lead, for all leads including all lifts involved.
|  | 300 | cum | 0 | 0 | 0 | 0 | 0
15 | Desmentaling of 15mm to 40mm dia G.I. pipes stacking of dismental pipes with 50 metre lead all complete as per direction of Institute. | 600 | Mtr | 0 | 0 | 0 | 0 | 0
Sanitary
16a) | Providing and fixing soil, waste and vent pipes : all complete as per direction of Institute.
| 100 mm dia. | 51 | each | 0 | 0 | 0 | 0 | 0
16b) | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 120 | mtrs | 0 | 0 | 0 | 0 | 0
| 75mm |  |  | 0 | 0 | 0 | 0 | 0
16c) | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 90 | mtrs | 0 | 0 | 0 | 0 | 0
17 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : all complete as per direction of Institute.
17a) | 75 mm dia pipe | 120 | each | 0 | 0 | 0 | 0 | 0
17b) | 100 mm dia pipe | 216 | each | 0 | 0 | 0 | 0 | 0
18 | Providing and fixing single equal plain junction of required degree : all complete as per direction of Institute.
| 100x100x100 mm | 90 | each | 0 | 0 | 0 | 0 | 0
19 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 all complete as per direction of Institute.
| 75x75x75x75 mm | 90 | each | 0 | 0 | 0 | 0 | 0
20 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : all complete as per direction of Institute.
20a) | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 54 | each | 0 | 0 | 0 | 0 | 0
Water Supply
21 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete . Concealed work including cutting chases and making good the walls etc.,all complete as per direction of Institute.
21a) | 15 mm nominal outer dia Pipes | 15 | mtrs | 0 | 0 | 0 | 0 | 0
21b) | 20 mm nominal outer dia Pipes | 130 | mtrs | 0 | 0 | 0 | 0 | 0
21c) | 25 mm nominal outer dia .Pipes. | 200 | mtrs | 0 | 0 | 0 | 0 | 0
21d) | 32 mm nominal outer dia .Pipes. | 20 | mtrs | 0 | 0 | 0 | 0 | 0
21e) | 40mm nominal outer dia .Pipes. | 10 | mtrs | 0 | 0 | 0 | 0 | 0
21f) | 50mm nominal outer dia .Pipes. | 15 | mtrs | 0 | 0 | 0 | 0 | 0
21g) | 65mm nominal outer dia .Pipes. | 8 | mtrs | 0 | 0 | 0 | 0 | 0
21h) | 100mm nominal outer dia .Pipes. | 35 | mtrs | 0 | 0 | 0 | 0 | 0
22 | Providing & fixing 15mm C.P. brass angle valve with nuts, washer and brass flange complete,for basin mixer and other points of approved quality conforming to IS:8931 including cutting and making good the wall wherever required. Make as approved by Institute.
22a) | 15mm nominal bore | 36 | each | 0 | 0 | 0 | 0 | 0
22b) | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge.
|  | 36 | each | 0 | 0 | 0 | 0 | 0
23 | Providing and fixing uplasticised PVC connection pipe with brass unions :
23a) | 30 cm length
i) | 15 mm nominal bore | 46 | each | 0 | 0 | 0 | 0 | 0
ii) | 20MM Nominal | 46 | each | 0 | 0 | 0 | 0 | 0
24 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Institute.
24a) | 25 mm average thickness | 20 | sqm | 0 | 0 | 0 | 0 | 0
25 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and all complete as per direction of Institute.
25a) | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 20 | sqm | 0 | 0 | 0 | 0 | 0
26 | Providing & fixing chrome plated brass battery based infrared sensor operated pillar cock, having foam flow technology of approved make all complete as per direction of Institute.
26a) | 15 mm nominal bore | 46 | each | 0 | 0 | 0 | 0 | 0
27 | Providing and fixing white vitreous china battery based infrared sensor operated urinal of approved make, approx. size 610 x 390 x 370 mm having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specificationall complete as per direction of Institute.
|  | 26 | each | 0 | 0 | 0 | 0 | 0
28 | Providing & fixingin position wall hung type white vitreous china water closet with concealed `P’ trap, PVC pan connector, plastic seat & lid heavy duty Stainless Steel hinges, including C.I. chair, white vitreous china flushing cistern (concealed type) having dual flushing system including all internal fittings complete with rubber buffers, C.P. nuts, bolts, etc making holes in walls floors, & making good. all complete as per direction of Institute.
| a)Integrated Water Closet(Star white) with jet & Cistern with seat cover all complete. | 51 | each
| b)Concealed cistern with wall mounted frame including cistern,push plate etc all complete as per direction of Institute. |  |  | 0 | 0 | 0 | 0 | 0
29 | Providing and fixing as per approved make C.P. brass bib cock of approved quality conforming to IS:8931 :all complete as per direction of Institute.
| 15 mm nominal bore | 51 | each | 0 | 0 | 0 | 0 | 0
30 | Providing and fixing as per manufacturer guidline automatic liquid soap dispenserof approved make all complete as per direction of Institute.
|  | 46 | each | 0 | 0 | 0 | 0 | 0
31 | Providing and fixing as per manufacturer guidline Hand Shower (Health Faucet) with 1 Meter Long Easy Flex Tube in Chrome Finish and Wall Hook with N.R.V (Back Flow Preventer) of approved make equivalent make all complete as per direction of Institute.
|  | 51 | each | 0 | 0 | 0 | 0 | 0
32 | Providing and fixing as per manufacturer guidline Toilet Roll Holder with Stainless Steel Flap of good quality as approved quality & make all complete as per direction of Institute.
|  | 51 | each | 0 | 0 | 0 | 0 | 0
33 | Providing and fixing Stainless Steel Grade 304 grating of approved quality and colour. Circular type : 100 mm nominal dia all complete as per direction of Institute.
|  | 97 | each
34 | Providing and fixing 600x450mm beveled edge mirror of Supreme quality( Of approved quality) complete with 6mm thick hard board ground fixed on woodem cleats with CP brass screws & washer all comple. holes etc for fixing arrangement all complete directions of engineer-in-charge.
|  | 46 | each | 0 | 0 | 0 | 0 | 0
35 | Providing and fixing 8mm thick frosted safety glass of size 900x450mm fixed in urinal partitions of approved make and making ncecssary holes etc for fixing arrangement all complete as per client's requirement all complete as per direction of Institute.
|  | 25 | Each | 0 | 0 | 0 | 0 | 0
36 | Providing and fixing factory made HDHMR Board 6mm back ply and high glossy superior quality mirror of size 500 mm X 700 mm all complete as per direction of Institute.
|  | 46 | each | 0 | 0 | 0 | 0 | 0
37 | Providing, fixing, jointing with drip seal and testing centrifugally cast iron 'P' or 'S' trap of self cleansing design with or without arm with provision for connectiong G.I. inlet fitting complete including cost of cutting and making good the walls and floors wherever required as directed by Institute.
| a)100 mm inlet & 100 mm outlet | 51 | each | 0 | 0 | 0 | 0 | 0
38 | Providing & laying cement concrete 1:2:4 (1 cement :2 coarse sand :4 graded stone aggregate 20mm nominal size) 75mm in bed and allaround C.I. Soil and waste pipe under floor including centring and shuttering wherever required. all complete as per direction of Institute.
| a)100 mm internal dia. | 5 | Cum | 0 | 0 | 0 | 0 | 0
39 | Providing and fixing approved quality CP brass,heavy duty twin coat hooks with chrome finish and CP screws all complete as per direction of Institute. | 51 | each | 0 | 0 | 0 | 0 | 0
40 | Providing and fixing brass ball valves with SS 304 stem and ball, teflon seat of approved make heavy quality with all necessary fittings all complete as per specifications & as directed by EIC. All complete as per direction of Institute.
| a)15 mm dia | 5 | each | 0 | 0 | 0 | 0 | 0
| b)20mm dia | 51 | each | 0 | 0 | 0 | 0 | 0
| c)25mm dia | 36 | each | 0 | 0 | 0 | 0 | 0
41 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Institute. | 46 | each | 0 | 0 | 0 | 0 | 0
42 | Providing and fixing 18 mm thick mirror polished, machine cut Granite black for wash basin counters/platforms, facias ,drops etc and for similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, etc., all complete as per direction of Institute at all levels as including following :
fixing granite stone over including in facia and drops of width upto 150mm with expoxy resin based (Araldite or equivalent) adhesive including cleaning, etc., complete as per specification & all complete as per direction of Institute.
Including to provide opening of required size & shape for wash basins in platform, and similar location in marble/stone work including necessary holes for pillar taps, etc., including rubbing and polishing of cut edges, etc., complete as per specification &all complete as per direction of Institute.
| a) Granite black | 50 | Sqm | 0 | 0 | 0 | 0 | 0
43 | Providing and fixing glazed vitreous china wash BASIN of approved make and Best Indian make Hand Wash basin white viterous chinaware conforming to IS 2556 Part IV supported on suitable wall brackets. Oval shaped wash basin suitable for over or under counter installation 560 x 450 mm all complete as per direction of Institute. including followings : | 46 | each | 0 | 0 | 0 | 0 | 0
a) Providing & Fixing one no. 32mm nb heavy quality CP brass waste with rubber plugs & CP chain.
b) Providing & Fixing of one no. 15mm nb heavy quality CP brass screwed down stop cock conforming to IS 781 CP brass inlet connection with brass union ends.
c) one no. 15mm nb heavy quality CP brass inlet connection with brass union ends.
44 | Constructing masonary chamber 30 x 30x 50 cm, inside with 75 class designation brick work in cement mortor 1:5 (1 cement : 5 fine sand) for stop cock , with C.I surface box 100 x 100 x 75 mm (inside) with hinged cover fixied in cment concrete slab 1:2:4 mix( 1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 (I cement: 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 Coarse sand) 12 mm thick finished with a floating coat of neat cement all complete as per specifications & all complete as per direction of Institute. | 3 | each | 0 | 0 | 0 | 0 | 0
45 | Providing and fixing best Indian make cast iron flanged NON-RETURN VALVES along with a pair of C.I. Tail pieces conforming to IS:5312 (Part I) making necessary flanged joints, providing all jointing materials, testing the valve and joints for 10 kg/cm2 pressure with clean and potable water for minimum testing duration of two hours etc. complete as per specifications, drawings and as directed by the Engineer-in-charge.
| 65 mm nominal bore- Horizontal | 12 | each | 0 | 0 | 0 | 0 | 0
46 | Providing and fixing square mouth S. W. gully trap grade ‘A’ complete with C.I. grating brick masonory chamber with bricks of class designation 75 and water tight C.i. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 Kg and frame to be not less than 2.70 Kg as per standerd design as per specifications & all complete as per direction of Institute.
|  | 25 | each | 0 | 0 | 0 | 0 | 0
47 | Providing and fixing Gate valves with apoxicoated disc, carbon steel shaft and lever actuator tested to 10 Kg/cm2 all complete as per direction of Institute.
| a)32mm dia | 18 | each | 0 | 0 | 0 | 0 | 0
| b)40mm Dia | 5 | Each
| c)50mm dia | 4 | Each | 0 | 0 | 0 | 0 | 0
| d)65mm dia | 3 | Each
| e) 80 mm dia. | 1 | Each | 0 | 0 | 0 | 0 | 0
48 | Supply & Installation of manually operated having chain mechanism roller blinds for internal windows :1. Roller Tube made up of aluminium alloy Extruded grooved tube having outer dia 38mm and anodised finish and brackets powder coatedin maching to roller system..2.Fabricfabric composistion is 70% PVC & 30& Polyster as per approved colour.The fabric is rolled up and down through a chain drive system with built in drive gear and an over run brake system and 3.The side brackets are universal type suitable both for wall and ceiling mounting.The bottom end of the fabric is rolled over an oval shape aluminium tube with provision to lock the fabric etc all complete as per direction of Institute. Makes MAC/VISTA/Hunter Douglas or compatible specification for vertical Roller blinds with shade/screening. | 5800 | Sqft | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Consultant Engineer |  |  |  | Seal & Signature of Contractor