## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Director, NIPGR, New Delhi
Name of Work: Replacement of VFD for Primary Pump (1 No.) installed at AC Plant Room for Old Lab Block.
Contract No: NIPGR/Engg./5/6/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Supply , Installation Testing & Commissioning of Variable Frequency Drive (VFD) of Danoss Make (existing installation make) compatible with BMS installation including the BMS programming of the VFD along with the existing BMS system installed in the campus | 1 | No. | 0 | 0 | 0 | 0 | 0
Details of Drive : Danfoss make Dedicated HVAC drive for Pump Application DC Choke Inbuilt, Dry Run Detection, Sleep Mode, End of curve, Fire Override Mode, ac drive FC-102 / FC 280 IP-65.
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Controller of Administration |  |  |  | Seal & Signature of Contractor