## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority: Director, NIPGR, New Delhi
Name of Work: Supply, Installation, Testing & Commissioning of Vibratome
Contract No: 8/21/2019-20/NIPGR/S&P
Name of the Bidder / Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Quantity | Units | BASIC RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P | Freight Charges/ Any other Charges in Rs. P | Amount in Foreign Currency (CIP/ CIF) | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 4 | 5 | 7 | 9 | 10 | 11 | 15 | 16 | 17
1 | Supply, Installation, Testing & Commissioning of Vibratome
1.01 | 1. The equipment should be innovative bench top unit, Micrometer mechanism and vibration system of the blade should be enclosed in ergonomically designed housing. 2. High quality Vibrotome for sectioning with an adjustable specimen retraction feature which protects the specimen from damage during the return stroke of the knife. 3. Vibrotome should be semi/fully automated which can accelerate the sectioning process 4. Vibrotome should have high-speed knife return stroke of 5 mm/sec as well as a freely programmable sectioning window which ensures extremely quick sectioning of even the smallest specimens. 5. Frequency of the blade vibration can be adjusted from 30 – 100 Hz and select the appropriate amplitude between 0.2 to 1 mm in 5 mm steps. 6. Vibrotome should have adjustable knife advance speed. Instruments should have featured a very fine adjustable knife advance speed between 0.03 to 2.5 mm/s, a programmable sectioning window, and specimen retraction. 7. Amplitude should be adjustable between 0.2 to 1 mm. 8. Approx. 15 mm vertical specimen stroke. 9. Section thickness range 1-999 μm. 10. Magnifier should be attached on top of instrument. 11. Manufacturer must be ISO certified. 12. Vertical approach speed, towards the specimen, can be selected in three different speed settings. 13. The vibrotome should come up with a suitable UPS. | 1 | Nos | 0 |  |  |  | 0 | 0
Total in Figures |  |  |  | 0 |  |  |  | 0 | 0
Quoted Rate in Figures |  |  | Select | % |  |  |  | 0 | 0
Quoted Rate in Words
Name & Signature of Tenderers/
Company with Seal