## ITEM 2
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority: Director, NIPGR, New Delhi
Name of Work: Supply, Installation, Testing & Commissioning of One (01) number of NGS (next-generation sequencing)-based sequencing and genotyping Platforms , including all the minor equipment’s, accessories, consumables etc. along with site preparations required for making this platform fully functional and operational at NGGF-NIPGR Campus.
Contract No: 8/51/2019-20/NIPGR/S&P
Name of the Bidder / Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Quantity | Units | BASIC RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P | Freight Charges/ Any other Charges in Rs. P | Amount in Foreign Currency (CIP/ CIF) | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT In Words
ITEM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
ITEM2 A | Supply, Installation, Testing & Commissioning of NGS (next-generation sequencing)-based sequencing and genotyping Platforms including all the minor equipment’s, accessories, consumables etc. |  | Unit | 0 | 0 |  |  | 0 | 0
1 | 1B. Ultra Sonicator for DNA Fragmentation |  | 1 | 0 | 0 |  |  | 0 | 0
| 2B. Fragment Analyzer/Tape Station |  | 2 | 0 | 0 |  |  | 0 | 0
| 3B. Benchtop refrigerated centrifuge with swing-out rotor (for Microplate and MIDI plates) and microcentrifuge rotor |  | 2 | 0 | 0 |  |  | 0 | 0
| 4B. Bench-top ultra-centrifuge with suitable rotor and tube |  | 1 | 0 | 0 |  |  | 0 | 0
| 5B. Refrigerated High Speed Benchtop Centrifuge |  | 1 | 0 | 0 |  |  | 0 | 0
| 6B. Centrifuge for 1.5/2ml tubes |  | 2 | 0 | 0 |  |  | 0 | 0
| 7B. Table Top Centrifuge |  | 2 | 0 | 0 |  |  | 0 | 0
| 8B. Fluorometer |  | 2 | 0 | 0 |  |  | 0 | 0
| 9B. Centrifuge for 1.5/2ml tubes |  | 2 | 0 | 0 |  |  | 0 | 0
| 10B. Refrigerator (-300C) |  | 4 | 0 | 0 |  |  | 0 | 0
| 11B. Refrigerator (4°C) |  | 4 | 0 | 0 |  |  | 0 | 0
| 12B. Mini Spin (Quick Spin) |  | 4 | 0 | 0 |  |  | 0 | 0
| 13B. Temp Heating System with heating inserts (Midi plate insert) |  | 2 | 0 | 0 |  |  | 0 | 0
| 14B. 96 well microsample insert |  | 2 | 0 | 0 |  |  | 0 | 0
| 15B. High Speed Micro Plate Shaker |  | 2 | 0 | 0 |  |  | 0 | 0
| 16B. Tissue Lyser |  | 2 | 0 | 0 |  |  | 0 | 0
| 17B. Geno Grinder |  | 2 | 0 | 0 |  |  | 0 | 0
| 18B. Automated DNA isolation |  | 1 | 0 | 0 |  |  | 0 | 0
| 19B. Automated NGS library prep Automated Library prep |  | 1 | 0 | 0 |  |  | 0 | 0
| 20B. Magnetic rack for 1.7 ml microcentrifuge tubes |  | 2 | 0 | 0 |  |  | 0 | 0
| 21B. Magnetic stand |  | 2 | 0 | 0 |  |  | 0 | 0
| 22B. Vortex |  | 2 | 0 | 0 |  |  | 0 | 0
| 23B. DNA/RNA electrophoresis system |  | 2 | 0 | 0 |  |  | 0 | 0
| 24B. Gel documentation system |  | 2 | 0 | 0 |  |  | 0 | 0
| 25B. 96 well PCR system |  | 2 | 0 | 0 |  |  | 0 | 0
| 26B. Real-Time PCR System |  | 1 | 0 | 0 |  |  | 0 | 0
| 27B. Microvolume spectrophotometer |  | 2 | 0 | 0 |  |  | 0 | 0
| 28B. UPS 50 KVA |  | 3 | 0 | 0 |  |  | 0 | 0
| 29B. Ice Flaking Machine |  | 2 | 0 | 0 |  |  | 0 | 0
| 30B. Molecular grade water purifier |  | 1 | 0 | 0 |  |  | 0 | 0
| Pipettes |  |  | 0 | 0 |  |  | 0 | 0
| 31B. Manual Single channel pipette (Volume ranges for pipette) |  |  | 0 | 0 |  |  | 0 | 0
| 0.1-2.5 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 0.2-2 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 0.5-10 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 2-20 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 10-100 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 50-200 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 100-1000 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 500-5000 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 1000- 10,000 μl |  | 2 | 0 | 0 |  |  | 0 | 0
| 32B. Number of pipette stand |  | 5 | 0 | 0 |  |  | 0 | 0
| 33B. Manual Multichannel Pipette |  |  | 0 | 0 |  |  | 0 | 0
| Volume ranges for pipette |  |  | 0 | 0 |  |  | 0 | 0
| 0.1-2.5 μl |  | 4 | 0 | 0 |  |  | 0 | 0
| 0.5-10 μl |  | 4 | 0 | 0 |  |  | 0 | 0
| 2-20 μl |  | 4 | 0 | 0 |  |  | 0 | 0
| 10-100 μl |  | 4 | 0 | 0 |  |  | 0 | 0
| 50-200 μl |  | 4 | 0 | 0 |  |  | 0 | 0
| 100-1000 μl |  | 4 | 0 | 0 |  |  | 0 | 0
| 34B. Number of pipette stand |  | 5 | 0 | 0 |  |  | 0 | 0
| 35B. Automatic Multichannel different volume range pipettes |  |  | 0 | 0 |  |  | 0 | 0
| Volume ranges for pipette (Type: 8 Channel) |  |  | 0 | 0 |  |  | 0 | 0
| Volume Range: 1 – 10 Μl |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range: 2 – 20 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range 5 – 50 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range 20 – 200 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range 20 – 300 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range100 – 1200 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Type12-channel |  |  | 0 | 0 |  |  | 0 | 0
| Volume Range1 – 10 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range2 – 20 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range5 – 50 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range20 – 200 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range20 – 300 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| Volume Range100 – 1200 μL |  | 2 | 0 | 0 |  |  | 0 | 0
| 36B. Number of pipette stand |  | 4 | 0 | 0 |  |  | 0 | 0
| 37B. Water Bath |  | 2 | 0 | 0 |  |  | 0 | 0
| 38B. Server |  | 1 | 0 | 0 |  |  | 0 | 0
| 39B. Workstation for data analysis |  | 5 | 0 | 0 |  |  | 0 | 0
| 40B. Lab renovation, furniture, etc. Creation of Turnkey Facility |  |  | 0 | 0 |  |  | 0 | 0
| 41B. Air-Conditioners (ACs)(4 Ton each) |  | 4 | 0 | 0 |  |  | 0 | 0
| 42B. Warranty: 3-year warranty and 2 years additional CMC (separate quote), unless otherwise specified. |  |  | 0 | 0 |  |  | 0 | 0
| 43B. CMC Charges for 2 years after completion of Warranty Period |  |  | 0 | 0 |  |  | 0 | 0
Total in Figures |  |  |  | 0 |  |  |  |  | 0
Quoted Rate in Figures |  |  | Select | % |  |  |  | 0 | 0
Quoted Rate in Words
Name & Signature of Tenderers/
Company with Seal