## ITEM 3
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority:Director, NIPGR, New Delhi
Name of Work: Supply, Installation, Testing & Commissioning of Array-based SNP genotyping platform-one unit, including all the minor equipment’s, accessories, consumables etc. along with site preparations required for making this platform fully functional and operational at NGGF-NIPGR Campus.
Contract No: 8/52/2019-20/NIPGR/S&P
Name of the Bidder / Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Quantity | Units | BASIC RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P | Freight Charges/ Any other Charges in Rs. P | Amount in Foreign Currency (CIP/ CIF) | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | Supply, Installation, Testing & Commissioning of Array-based SNP genotyping platform including all the minor equipment’s, accessories, consumables etc. | 1 |  |  | 0 |  |  | 0 | 0
1C | Air compressor | 1 |  |  | 0 |  |  | 0 | 0
2C | Refrigerated plate centrifuge | 1 |  |  | 0 |  |  | 0 | 0
3C | Laminar Hood | 1 |  |  | 0 |  |  | 0 | 0
4C | Fluorumeter | 1 |  |  | 0 |  |  | 0 | 0
5C | Thermal Cyclers | 2 |  |  | 0 |  |  | 0 | 0
6C | Nano spectrometer | 1 |  |  | 0 |  |  | 0 | 0
7C | Dehumidifier | 1 |  |  | 0 |  |  | 0 | 0
8C | Magnetic stand 96 well | 1 |  |  | 0 |  |  | 0 | 0
9C | Tissue lyser | 1 |  |  | 0 |  |  | 0 | 0
10C | Vortexer along with plate attachment | 1 |  |  | 0 |  |  | 0 | 0
11C | Refrigerator (-300C) for storing of samples (leaves, seeds, liquid DNA, tissues) . | 4 |  |  | 0 |  |  | 0 | 0
12C | Freezer -80 0C | 2 |  |  | 0 |  |  | 0 | 0
13C | Air-Conditioners (ACs) with a capacity of 4 Ton each. | 4 |  |  | 0 |  |  | 0 | 0
14C | Lab renovation, furniture, etc. Creation of Turnkey Facility |  |  |  | 0 |  |  | 0 | 0
15C | Warranty: 3year warranty |  |  |  | 0 |  |  | 0 | 0
16C | CMC Charges for 2 years after completion of Warranty Period |  |  |  | 0 |  |  | 0 | 0
1.01 | As per the specifications mentioend in the Technical Bid |  |  |  | 0 |  |  | 0 | 0
Total in Figures |  |  |  | 0 |  |  |  |  | 0
Quoted Rate in Figures |  |  | Select | % |  |  |  | 0 | 0
Quoted Rate in Words
Name & Signature of Tenderers/
Company with Seal