## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority: Consultant Engineer, NIPGR, New Delhi
Name of Work: Providing power points in Library, Class Rooms & Board Room in NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./6/6(6)/2019-20
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Quantity | Units | BASIC RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P | Freight Charges/ Any other Charges in Rs. P | Amount in Foreign Currency (CIP/ CIF) | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT In Words
1 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | Supplying and fixing of 12 way, double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing, etc., as required & instructions of Engineer in carge. (But without MCB/RCCB/Isolator) Make: Legrand/Havells/ABB | 2 | Each | 0 | 0 |  | 0 | 0 | 0
2 | Supplying and fixing of 8 way (4 + 24), double door, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing, etc., as required & instructions of Engineer in charge. (But without MCB/RCCB/Isolator) Make: Legrand/Havells/ABB | 1 | Each | 0 | 0 |  | 0 | 0 | 0
3 | Supplying and fixing of 16/20A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of single poles in the existing MCB DB complete with connections, testing and commissioning etc., as required & instructions of Engineer in charge. Make: Legrand/Havells/ABB/L & T/Schneider electric/Siemens | 25 | Each | 0 | 0 |  | 0 | 0 | 0
4 | Supplying and fixing of 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required & instructions of Engineer in charge. Make: Legrand/Havells/ABB/L & T/Schneider electric/Siemens | 4 | Each | 0 | 0 |  | 0 | 0 | 0
5 | Supplying and fixing of 63A rating, double pole, 240 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc., as required & instructions of Engineer in charge. Make: Legrand/Havells/ABB/L & T/Schneider electric/Siemens | 1 | Each | 0 | 0 |  | 0 | 0 | 0
6 | Supplying and fixing of 63A rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc., as required & instructions of Engineer in charge. Make: Legrand/Havells/ABB/L & T/Schneider electric/Siemens | 1 | Each | 0 | 0 |  | 0 | 0 | 0
7 | Supplying & fixing of 100mm x 50mm, 1.2mm thick, PVC raceway with locking arrangement, 1.8mm thick push-fit joints including the cost of all accessories for PVC raceway such as couplers, endcaps, bends, tees, nut & bolts, washers, PVC gitti, SS screws, elbows, internal / external angles, junction boxes of required ways of the same make required and drilling, offwhite colour etc., complete as per specifications, getting it approved and as required and & instructions of Engineer in charge. Make: MK/Legrand | 94 | Rmt. | 0 | 0 |  | 0 | 0 | 0
8 | Supplying and drawing of 3 x 4 sq. mm of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit/raceway including connections as required & instructions of Engineer in charge. Make: Skytone/Kalinga/Polycab/Finolex/Havells | 435 | Rmt. | 0 | 0 |  | 0 | 0 | 0
9 | Supplying and drawing of 3 Core, 10.0 sqmm PVC insulated and FR PVC Round Sheathed, Copper Conductor Flexible Industrial Cable, 1100 Volts Conforming to IS: 694 in the existing surface/recessed steel/ PVC conduit/raceway including connections as required & instructions of Engineer in charge. Make: Skytone/Kalinga/Polycab/Finolex/Havells | 20 | Rmt. | 0 | 0 |  | 0 | 0 | 0
10 | Supplying and fixing of suitable size (suitable with above raceway) GI/PVC box with modular plate and cover in front on surface or in recess including providing and fixing 6 pin 5/6 & 15/16 A modular universal socket outlet and 15/16 A modular switch, connections etc., as required & instructions of Engineer in Charge. Make: Legrand/MK | 71 | Each | 0 | 0 |  | 0 | 0 | 0
Total in Figures | [7 empty] | 0 | 0
Quoted Rate in Figures |  |  | Select | % |  |  |  | 0 | 0
Quoted Rate in Words
| Consultant Engineer | [5 empty] | Seal & Signature of Contractor