## Part-A
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Director, NIPGR, New Delhi
Name of Work: Maintenance of Intelligent Addressable and Conventional Fire Alarm System and CO2 Flooding System at NIPGR, New Delhi.
Contract No: NIPGR/Engg./6/1/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (Part - A) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
Si. No. | Description |  | Amount
A | Manpower as per details below (please refer Special Terms & Conditions of the Tender document)
i | Wages for complete month | No. of persons
| a. Supervisor (Once in a Week), Skilled | 1 | 0
| b. Operator (Single Shift), Skilled | 1 | 0
| c. Helper (Single Shift), Unskilled | 1 | 0
| Total Wages (a +b + c) |  | 0
(Please provide complete breakup)
ii | PF @ 13% (including administrative charges as per rules) (maximum on Rs. 15,000/- per person, per month) |  | 0
iii | ESI @ 3.25% (Admissible for those workers only having salary maximum upto Rs. 21,000/-) |  | 0
iv | Bonus @ 8.33% of Basic (Admissible for those workers only having salary maximum upto Rs. 21,000/- and who completes atleast 30 days service in present contract) |  | 0
Total A | Total Monthly charges towards above manpower |  | 0
B | Service Charges on A (Minimum 3.85% to Maximum 7%) |  | 0
C | Total (A+ B) |  | 0
D | GST @ 18% (on C above) |  | 0
E | Total Inclusive of GST (C + D) |  | 0
G | Total Monthly charges (Say) |  | 0
H | Total Yearly Charges |  | 0
| Controller of Administration, NIPGR |  | Seal & Signature of Contractor

## Part-B
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Director, NIPGR, New Delhi
Name of Work: Maintenance of Intelligent Addressable and Conventional Fire Alarm System and CO2 Flooding System at NIPGR, New Delhi.
Contract No: NIPGR/Engg./6/1/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (Part - B) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Photoelectric Smoke Detector - Edward Cat. No.-SIGA-PS, Daksh, Agni | 1 | Each | 0 | 0 | 0 | 0 | 0
2 | Rate of Rise Heat Detector - Edward Cat. No.-SIGA-HRA/SIGA-HFS, Daksh | 1 | Each | 0 | 0 | 0 | 0 | 0
3 | Manual Pull Station - Edward Cat. No.-SIGA-270 | 1 | Each | 0 | 0 | 0 | 0 | 0
4 | Standard Detector Bases -Edward Cat. No.-SIGA-SB | 1 | Each | 0 | 0 | 0 | 0 | 0
5 | Isolator Detector Bases - Edward Cat. No.-SIGA-IBS | 1 | Each | 0 | 0 | 0 | 0 | 0
6 | Control Module - Edward Cat. No.-SIGA-CR | 1 | Each | 0 | 0 | 0 | 0 | 0
7 | LCD Display - Edward Cat. No.-3-LCD | 1 | Each | 0 | 0 | 0 | 0 | 0
8 | Main CPU - Edward Cat. No.-3-CPU | 1 | Each | 0 | 0 | 0 | 0 | 0
9 | Single Loop Card - Edward Cat. No.-3-SSDC | 1 | Each | 0 | 0 | 0 | 0 | 0
10 | Reprogramming of complete Intelligent Fire Alarm system & P.A. system installed at NIPGR, New Delhi. - Job | 1 | Each | 0 | 0 | 0 | 0 | 0
11 | 4 Zone Fire Alarm Control Panel Solid State with 4 nos. Gas release units with 2x12V, 7Ah SMF batteries, battery charger circuit - Make-Agni, Model-Orion4z | 1 | Each | 0 | 0 | 0 | 0 | 0
12 | Multicriteria smoke cum heat detectors - Make System-Sensor, Model No.-2351TEM | 1 | Each | 0 | 0 | 0 | 0 | 0
13 | Electronic Hooter cum Strobe - Make-Agni | 1 | Each | 0 | 0 | 0 | 0 | 0
14 | Solenoid valve with coil 24VDC, 8W - Make-Rotex Automation Ltd. Code No.-20101A-1.2-2G | 1 | Each | 0 | 0 | 0 | 0 | 0
15 | 4 Zone Fire Alarm Control Panel with 2x12V, 7Ah SMF batteries, battery charger circuit - Make-Agni Suraksha, Model- Fire Scan FAP 2008 | 1 | Each | 0 | 0 | 0 | 0 | 0
16 | Photoelectric Smoke Detector -Make-Agni Suraksha Model No.-AD333-2L | 1 | Each | 0 | 0 | 0 | 0 | 0
17 | Low Intensity Hooter (80 to 100 db) - Make-Agni Suraksha Model No.-MS-II | 1 | Each | 0 | 0 | 0 | 0 | 0
18 | Manual Call Point - Make-Agni Suraksha Model No.MS Type | 1 | Each | 0 | 0 | 0 | 0 | 0
19 | Fire Response Indicator - Make-Agni Suraksha Model No.-ABS-mini | 1 | Each | 0 | 0 | 0 | 0 | 0
20 | EST-3 Power Supply card / unit - Make - Model No. PPS/M | 1 | Each | 0 | 0 | 0 | 0 | 0
21 | Power supply SMPS 24V, 14 Amp with battery charger - Make - Daksh | 1 | Each | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Controller of Administration |  |  | Seal & Signature of Contractor
NIPGR